Blood Pressure Monitoring

How to measure blood pressure using a sphygmomanometer The non-invasive ausculatory method is one of the most common ways of monitoring a patient's blood pressure. The subject sits down and rests their arm on a table so the brachial artery is level with the heart. This is important when monitoring blood pressure, as pressure is proportional to height ( Δp = ρgΔh ). For example, if one measures the blood pressure at head height, the systolic/diastolic pressure readings will be approximately 35mmHg less compared to readings taken at heart level, whereas at ground height the pressure readings will be 100mmHg greater. A sphygmomanometer cuff is wrapped around the subject's upper arm, just above the elbow and a stethoscope is placed on the hollow of the elbow, over the brachial artery as shown below. The cuff is 'pumped- up' to a pressure of 180mmHg, compressing the brachial artery hence causing the artery to collapse once the systolic pressure (the maximum pressure exerted by the blood against the wall of the brachial artery when the heart beats) has been exceeded. At the point where the pressure of the cuff is greater then the systolic pressure, the artery has collapsed thus, there is no flow of blood through the brachial artery. The valve on the pump is loosened slowly to allow the pressure of the sphygmomanometer cuff to decrease. Once the systolic pressure is reached (approximately 120mmHg in the 'normal' case), the brachial artery opens causing volatile blood flow, which cause vibrations against the artery walls. These noises are called Korotkoff sounds (named after their discoverer) and can be heard through a stethoscope as the pressure exerted onto the brachial artery falls. The blood flow through the brachial artery increases steadily, until the pressure of the sphygmomanometer cuff falls below the diastolic pressure (the pressure between successive heart beats, the low pressure), approximately 80mmHg. This is the point where the blood flow through the artery is laminar. The Korotkoff sounds The Korotkoff sounds are the sounds heard through the stethoscope as the pressure cuff deflates. The sounds are first heard when the cuff pressure equals the systolic pressure, and cease to be heard once the cuff has deflated past the diastolic pressure. It is generally accepted that there are five phases of Korotkoff sounds. Each phase is characterised by the volume and quality of sound heard. The figure below illustrates these phases. In this example, the systolic and diastolic pressures are 120mmHg and 80mmHg respectively. Phase 1 With the pressure cuff inflated to beyond the systolic pressure, the artery is completely occluded and no blood can flow through it. Consequently, no sounds are heard above the systolic pressure. At the point where cuff pressure equals the systolic pressure, a sharp tapping sound is heard. We recall that the blood pressure oscillates between systolic and diastolic pressure. At systolic, the pressure is great enough to force the artery walls open and for blood to spurt through. As the pressure dips to diastolic, however, the artery walls bang shut again. It is the closing shut of the artery walls that results in the tapping sound. Phase 2 This phase is characterised by a swishing sound, caused by the swirling currents in the blood as the flow through the artery increases. Sometimes, if the cuff is deflated too slowly, the sounds vanish temporarily. This happens when the blood vessels beneath the cuff become congested, and is often a sign of hypertension. The congestion eventually clears, and sounds resume. The intervening period is called the auscultatory gap. Phase 3 In this phase, there is a resumption of crisp tapping sounds, similar to those heard in phase 1. At this stage, the increased flow of blood is pounding against the artery walls. Phase 4 At this point, there is an abrupt muffling of sound. The blood flow is becoming less turbulent. Some medical practitioners choose to record this point as the diastolic pressure. Phase 5 This is the point at which sounds cease to be heard all together. The blood flow has returned to normal and is now laminar. The pressure cuff is deflated entirely and removed.